## ExamTimeStamps
| Name | Description | Upstream | Action (convert to past tense--it is done) | Object/Item | Downstream | Transaction | IHE Actor | Pre-req step(s) | Who Does it | Src | Dest | Protocol
RID45826 | DataAcquired | All raw image data is acquired (reconstruction time is not included). This means that the patient may exit the imaging device | Person | EventTime | RawImages |  |  |  | 19 * | Tech | Modality | PACS | DICOM PPS
RID45827 | AdmitIRPtRounds | The IR consultant and/or Physician Extender performs daily rounds on IR hospital admits
RID45828 | AdmitPtRecovery | Hi-IQ update of ptn admit to the patient recovery area ('Patient Arrival')
RID45829 | Alert | Technologist alerts appropriate person (usually the interpreting radiologist for JC crit notification requirements) that images are available (e.g. post-op, stroke) | Person | Transmitted | CriticalEventNotification | Person
RID45815 | ApptTime | the planned time for the procedure
RID45830 | ArchiveCommit | Exam is transferred to an external archive | PACS | Transmitted | ExamImages | ExternalArchive |  |  | 31 | Auto | PACS | Archive | DICOM+
RID45825 | Arrived | Patient check-in at the imaging facility | Patient | Arrived | ImageAcquisitionLocation |  |  | ?? | 1 | Desk |  | PACS | Web page
RID45831 | AttemptedCritNotify | Time when critical event notification is begun
RID45832 | AudioTransmit | Audio transmitted to 'speech-to-text' system (human transcriber or speech recognition) | AudioRecordingSystem | Transmitted | Audio | Speech-to-textSystem
RID45833 | AutomatedProcessingComplete | Automatic/algorithmic manipulated images transmitted to reporting system | PostprocessingSystem | Transmitted | Examimages | PACS
RID45834 | AutomatedProcessingStart | Start of Automatic algorithmic manipulation of images (VOI LUTs, SCIC, AutoWL) | PostprocessingSystem | EventTime | RawImages |  |  |  | 20 | PACS
RID45835 | BaseImagesComplete | All images are acquired and the routine base images are reconstructed (e.g. CT axials) | ImagingDevice | Created | RawImages
RID45836 | Billed | Information on exam has been transferred to biling system | RIS | Transmitted | BillingInformation | BillingSystem |  |  | 31 | Auto | PACS | EMR | HL7
RID45837 | BillRejection | Time when payor notifies billing system that requested payment has been rejected
RID45838 | PtChanged | The patient has changed into attire required to perform exam | Patient | Prepared | Clothing | RIS? |  |  | 9 * | Desk |  | PACS | Web page
RID45839 | ChangedCPTOrderedProcedure | Eg. Change from CT Abd to ABD/Pelvis
RID45840 | ChangedProtocol | e.g from with IV contrast to no IV contrast or without/with
RID45841 | ClinFollow | Time when required or recommended clinical followup step (e.g. Mammo followup letters) | InterpretingPhysician | Delayed | PatientFollowup | RIS-EMR? |  |  | 31 | TimeTrigger | TimeTrigger | PACS
RID45842 | ClinHx | PACS retrieves configurable list of elements from EMR of ordering physician | EMR | Transmitted | ClinicalDocument | RIS? |  |  | 1 * | PACS | PACS | EMR | HL7
RID45843 | ClinicalImageView | Time when ordering physician views the images
RID45844 | CloseApplicationForInterpretation | Time when the 3rd party application is closed
RID45845 | CodeCorrection | The CPT or ICD codes are updated | Person | Updated | ProcedureCodes | BillingSystem
RID45846 | Coded | The CPT or ICD codes for the procedure are assigned | Person | Created | ProcedureCodes | BillingSystem
RID45847 | ImagingComplete | All images are acquired and reconstructed(including routine special reconstructions done on the imaging device) on the imaging device | ImagingDevice | Created | Examimages |  | MPPS Complete |  | 13 * | Tech | PACS | Modality | DICOM MWL
RID45848 | ConfirmConsent | Confirm that patient has given informed consent (DONE IN RECOVERY AND RE-CONFIRMED AT PROC PAUSE) | Person | Confirms | PatientConsent | Patient |  |  | 13 * | Physician |  | PACS | Web page
RID45849 | Consult | Out-patient IR clinic with clinical note entered into EMR
RID45850 | ReportCorrected | Correct report is reviewed and approved and published | InterpretingPhysician | Approved | UpdatedReport |  |  |  | 42 | Physician |  | PACS | HL7
RID45851 | CorrectedDic | A corrected report is dictated | UpdatedReport | Transmitted | Audio | AudioRecordingSystem |  |  | 31 | Physician |  | PACS | RadViewer
RID45852 | CorrectedTrx | Correct report is transcribed | AudioRecordingSystem | Transmitted | Audio | Speech-to-textSystem |  |  | 41 | Transcriptionist or SR | RIMS now | PACS | HL7
RID45853 | CorrelationReview | Time when pathology or other external results are returned to radiologist
RID45854 | CritNotification | The time when a critical finding (JC definition) is communicated to physician taking care of patient
RID45855 | DelayedAddl | Additional delayed images are added to an exam | [6 empty] | 39 | Modality | Modality | PACS | DICOM | Actually several steps
RID45856 | DeleteExam | A record entry for an exam and any associated images are deleted | RIS | Transmitted | ExamDeletion | PACS (?EMR) |  |  | 22 | Tech | PACS | PACS
RID45857 | DeskInfo | Patient has returned materials to registration desk | Patient | Transmitted | ClinicalDocument | RIS?
RID45858 | DictatationStartTime | Time when first word of report is recorded (or macro selected, etc)
RID45859 | Dictated | Physician reviews image and renders a report in electronic audio format | InterpretingPhysician | Created | Audio | AudioRecordingSystem |  |  | 22 | Physician |  | PACS | RadViewer
RID45860 | DischargeTime | Time when the patient leaves the imaging department | Patient | Departed | Department
RID45861 | EducationSearch | Search configurable materials for information relevant ot current case | InterpretingPhysician | Reviewed | Literature |  |  |  | 22 | Physician | PACS | web or ?? | URL
RID45820 | Enterprise ID Remap | look up and maybe generate enterprise ID for this order & patient | SchedulingSystem | Transmitted | PatientIDValidation | RegistrationSystem |  |  | 1 | PACS | PACS | MPII | HL7??
RID45862 | ExamCancelled | Examination is cancelled
RID45863 | ExamReassigned | Change the patient ID for an exam to a new ID | RegistrationSystem | Transmitted | PatientChange | RIS-PACS |  |  | 22 | Tech | PACS | PACS |  | Or from external HL7 message?
RID45864 | ExamExported | An exam is sent to CD or network for export | PACS | Transmitted | ExamImages | ImageExportApplication |  |  | 31 | ?? | PACS | CD or net | XDS-I or PDI
RID45865 | FinalPublish | Final report is sent to ordering physician (EMR confirmation of receipt) | RIS | Transmitted | FinalReport | EMR |  |  | 31 | PACS | PACS | EMR | HL7
RID46000 | FirstImage | The time when the imaging device begins to collect data that will be used to create the first image.
RID46001 | ProcedureStart |  | ImagingDevice | Transmitted | FirstImage | PACS | MPPS Start
RID45866 | GeneralAnesthesiaEnded
RID45867 | GeneralAnesthesiaStarted
RID45868 | HoldSame | Put current exam in a hold buffer pending more information--same physician will interpret | InterpretingPhysician | Delayed | CaseInterpretation |  |  |  | 22 | Physician | PACS | PACS
RID45869 | HumanProcComplete | Completion of human processing of images | Person | EventTime | BeginprocessingTime |  |  |  | 22,24 | Tech |  | PACS or Ext | internal or DICOM in
RID45870 | HumanProcStart | Start of human processing of images (e.g. 3D) to be included in examination | Person | EventTime | BeginprocessingTime
RID45871 | ImagesStoredInArchive | Time when images are copied to the image archive (2nd copy)
RID45872 | ImportImage | Import any relevant images from external media or network | ImageImportApplication | Transmitted | Images | PACS |  |  | 5 * | Desk? |  | PACS | XDS-I or PDI
RID45873 | InformedConsent | Informed Consent form completed
RID45874 | InterpStarted | Physician 'claims' a case for interpretation | InterpretingPhysician | Claimed | ExamImages | RIS-PACS
RID45875 | IRPre-Procedure | Patient has entered procedure room and prior to procedure initiation
RID45876 | IRImageSelect | IR room techs manually selects and annotates images for transfer from IR fluoro suites to deignated target
RID45877 | IRMaterialUsage | IR Techs id equipment used during the procedure (and serial numbers where necessary)
RID45878 | IRNursePrep | Sedation RN administers medication (if required, Anesthesia prepares airway)
RID45879 | IRPatientAdmitHospital | Certain IR patients are admitted to the hospital with coord completed by IR Physician Extenders
RID45880 | IRPostProcMonitoring | Recovery RNs monitor patient recovery status
RID45881 | IRProcedureComplete | Hi-IQ update that specific IR procedure is complete
RID45882 | IRProcedureStart | Hi-IQ update that IR Procedure has started
RID45883 | IRPtRecovery | IR patients transferred to patient recovery area post-procedure
RID45884 | IRRoomReady | Hi-IQ update of 'Room Ready' that denotes IR room is ready for the patient to be transferred from the recovery area to the IR room
RID45885 | IRRoomTurnover | Hi-IQ update that room is ready for cleaning
RID45886 | IRTechRoomPrep | IR Tech acquires all material/equipment anticipated for intended procedure
RID45887 | IRTechSterilePrep | IR Tech undertakes sterile preparation and draping of patient as well as preparation of sterile work table
RID45888 | IVInjectionContrastEnded | Time when intravascular contrast material was completed (what about saline chaser?)
RID45889 | IVContrastStart | Time when intravascular contrast agent injection was begun
RID45890 | LaunchApplicationForInterpretation | Time when a 3rd party application (e.g. 3D) is launched from the main viewing application
RID45891 | Markup | interpreter labels important features of exam | InterpretingPhysician | Created | ImageAnnotations | PACS |  |  | 22 | Physician |  | PACS | RadViewer
RID45816 | MobileArrivePt | the time when a technologist arrives to acquire images in a remote location | ImagingDevice | Arrived | ImageAcquisitionLocation
RID45817 | MobileLvDept | the time when a technologist leaves department to acquire images in a locaiton outside the department | ImagingDevice | Departed | Department
RID45892 | NursePrep | Any required steps by nursing or other allie dhealth person completed (e.g. sedation, IV start) | Patient | Prepared | NursingSteps | RIS? |  |  | 9 | Nurse |  | PACS | Web page
RID45893 | Opened | Time when the examination is opened on viewing application
RID45894 | OralContrastAdmin | Oral contrast given to patient | Person | Administers | OralContrast | Patient
RID45813 | Order | An electronic order is entered into the order placer system requesting an imaging exam | Person | Transmitted | Order | OrderPlacerSystem | HL7-ORM-ORC segment field no 9 | OrderPlacer |  | Ordering Physician | EMR | PACS | HL7 | May need to have simple web page to order and schedule for small sites and downtime
RID45895 | OrderReceived | An order was received from OrderPlacer into the Orderfiller | OrderplacerSystem | Transmitted | Order | OrderFillerSystem |  | OrderFiller
RID45896 | OrderSupplies | Order any needed supplies / medications for procedure | Person | Transmitted | ProcedureSupplies | MaterialsSystem
RID45897 | PatientIn | Time when the patient enters the procedure room | ImageAcquisitionLocation | EventTime | RoomPatientInRoom | RIS?
RID45898 | PatientMerge | Exams of a patient with 2IDs are merged to 1 of the IDs | RegistrationSystem | Transmitted | PatientMerge | RIS-PACS |  |  | 22 | Tech | PACS | PACS |  | Or from external HL7 message?
RID45899 | PatientOut | Time when the patient leaves the procedure room | ImageAcquisitionLocation | EventTime | RoomPatientLeavesRoom | RIS?
RID45900 | PatientReady | Patient is in the room and ready for procedure to begin | ImageAcquisitionLocation | EventTime | RoomReadyTime | RIS?
RID45901 | PeerReviewCompleted | End of a case being reviewed for peer review purposes
RID45902 | PeerReviewStarted | Start of a case being reviewed for peer review purposes
RID45903 | PersFollow | Trigger by an individual to check on a patient for professional interest | InterpretingPhysician | Delayed | CaseFollowup |  |  |  | 31 | Physician | TimeTrigger
RID45904 | PersonalNotification | The time when important findings are communicated to physician taking care of patient
RID45905 | PostProcCoord | Physician Extender follow-up to confirm patient post-procedure status and any need for follow-up consult
RID45819 | Precert | Exam is approved by reviewer/3rd party payor | ExamAuthorizor | Transmitted | OrderApproval | SchedulingSystem? |  |  | 1 * | EMR | EMR | Precert | HL7
RID45906 | PrecertRequest | A request is sent to a third party payor to precertify payment for a procedure | SchedulingSystem | Transmitted | Order | ExamAuthorizor
RID45907 | PrefetchCompleted | When the prefetch request images are completely transferred to PACS
RID45908 | PrefetchIssued | A request for transfer from archive to PACS is issued
RID45909 | PreImageConsult | Discussion with ordering physician for selection of appropriate exam | Person | Confirms | Procedure | Person
RID45910 | PrelimDic | Time when non-final report is captured in electronic audio format | Person | EventTime | AudiotempReportCreated |  |  |  | 22 | Physician |  | PACS | RadViewer
RID45911 | PrelimPublish | Time when a prelimary report has been received by a referring physician viewer | [5 empty] | EMR
RID45912 | PrelimTrx | Non-final report is transcribed into text | Person | EventTime | AudioTempReportTranscribed |  |  |  | 26 | Transcriptionist or SR | RIMS now | PACS | HL7
RID45913 | PrelimView | Non-final report is viewed by referring phsyician | Person | EventTime | TempReportViewed |  |  |  | 27 | Physician |  | PACS | HL7
RID45914 | ImagesPrepared | All steps required for reporting completed (images acquired, transmitted to reportin device, post-proessing done) | Person | EventTime | Examimages | PACS |  | DICOMInterpWorklist?
RID45915 | PreProcCoord | Physician Extender follow-up to coord ptn status along with date/time of procedure
RID45916 | ProcedureReady | Time when patient, room, others are ready for proceduralist ready to start procedure | ImageAcquisitionLocation | EventTime | RoomReadyTime | RIS?
RID45917 | ProcPause | In case of intervention, physician must confirm correct Pt, Proc, Part, ALERGIES, INFORMED CONSENT | Person | Confirms | ProcedureContent | Patient |  |  | 13 * | Physician |  | PACS | Web page
RID45824 | ProtocolSpecified | Based on history and indication, the specific image acquisition methods (or cancellation) are specified | Person | Transmitted | ImagingProtocol | RIS? |  |  | 7 * | Radiology |  | PACS | Web page
RID45821 | PtAccept | Patient accepts appointment, or may modify scheduling | Patient | Transmitted | AppointmentAcceptance | SchedulingSystem? |  |  | 3 * | Web or ?? | ?? | PACS | ??
RID45918 | PtInfoFormGivenToPatient | The form used to collect information about a patient is given to the patient
RID45818 | PtNotify | Patient is notified of the scheduled exam | SchedulingSystem | Transmitted | Appointment | Patient |  |  | 2 * | EMR | EMR | Patient | text?
RID45919 | PtSentToChangeAttire | The patient is sent to dressing room to change into appropriate attire for the examination
RID45920 | PtSentToNursingCheck | The patient is sent/transferred to meet with nursing
RID28816 | QC | Delete unnacceptable images, adjust W/L, confirm correct patient, etc. Typically done by a techologist | PACS | Updated | Examimages | RIS? |  |  | 21 | Tech |  | PACS | QC Viewer
RID45921 | RemapDICOMID | Replace Patient Identifiers in DICOM header--such as for research or teleradiology
RID45922 | RemapHL7ID | Replace Patient Identifiers in an HL7 message such as for teleradiology
RID45923 | RemapProcedureName | Replace procedure name/identifier such as for teleradiology
RID45924 | Reported [Final report approved] | Final electronic text report is approved(signed) by the interpreting physician | InterpretingPhysician | Approved | FinalReport | RIS |  | ReportCreator | 30 | Physician |  | PACS | HL7
RID45925 | ReqConsult | Request another phsycian to consult on case | InterpretingPhysician | Transmitted | Consultation | InterpretingPhysician |  |  | 22 | Physician | PACS | PACS
RID45926 | ReqLabsOrdered | Required lab tests (e.g. Cr, Pg) ordered | Person | Transmitted | Order | LabSystem
RID45928 | ReqLabsReported | Required lab tests available in medical record | Patient | Prepared | LabTests | RIS?
RID45927 | ReqLabsReviewed | Required lab tests reviewed by performing physician or nurse | Person | Reviewed | ClinicalDocument
RID45929 | RespondConsult | Repond to a request from another for a consultation | InterpretingPhysician | Approved | Consultation | InterpretingPhysician |  |  | any | Physician | PACS | PACS
RID45930 | ResultsAcknowledged | The time when the report is has been viewed and the ordering physicians acknowledges the content
RID45931 | ResultsViewed | The time when the report is viewed by the ordering physician or their designate
RID45932 | Review [image review] | Review that images are complete, no additional/unexpected requiredto complete diagnosis--performed by interpreting physicians | InterpretingPhysician | EventTime | ExamImagesViewed |  |  |  | 18 | Physician or Tech | Tech | PACS | LivePostingViewer
RID45933 | RNSafetyCheck | Confirm correct patient, exam, body part | Person | Confirms | ProcedureContent | Patient |  |  | 9 | Tech |  | PACS | Web page
RID45934 | RoomAssigned | Time when the room is assigned to a patient and procedure | SchedulingSystem | Created | RoomAssignment
RID45935 | RoomAvailable | Time when room is clean, and prepration for a specific case begins | ImageAcquisitionLocation | EventTime | RoomPrepStartTime | RIS?
RID45936 | RoomCleaned | Time when room is cleaned and ready to accept next patient (this happens at end of procedure) | ImageAcquisitionLocation | EventTime | RoomCleanTime | RIS?
RID45937 | SampleSent | Send acquired samples for testing | Person | Transmitted | Samples | LabSystem
RID45938 | SedationEval | Sedation versus Anesthesia evaluation complete pre-procedure (patient eval, IV placed)
RID45939 | Sendback | Put exam back in the que of those ready to be interpreted | InterpretingPhysician | UnClaimed | ExamImages | RIS-PACS |  |  | 22 | Physician | PACS | PACS
RID45940 | SplitAcquisition | Separate 1 large acquisition into 2 or more examinations using PGP step or otherwise split acquisition into exam sets | PACS | Updated | Examimages | RIS? | PGP Step completion |  | 20 | Tech |  | PACS | QC Viewer
RID45941 | StatOrder | order with High Priority acquisition
RID45942 | TalkToPt | Physician talks with patient about imaging findings or to confirm imaging findings (e.g. in ultrasound, may also scan) | Person | Transmitted | ImagingFindings | Patient |  |  | 15 | Physician |  | PACS | DICOM | May occur at any step where patient is in department
RID45943 | TeachingFileCreated | Create a teaching file entry for current exam | InterpretingPhysician | Created | TeachingCase | PACS |  |  | 22 | Physician | PACS | TF | TFC
RID45814 | TimeScheduled | When the appointment is determined (not the actual appointment time) | SchedulingSystem | Created | Appointment |  |  |  | RID45942 | human or algo | EMR | PACS | HL7
RID45944 | Transcribed | The final report is in electronic text format and ready for approval by interpreting physician into final form | Speech-to-textSystem | Transmitted | FinalReport | RIS |  |  | 29 | Transcriptionist or SR | RIMS now | PACS | HL7
RID45945 | Transferred | All images are transferred out of imaging device to a designated target (image export) | ImagingDevice | Transmitted | Examimages | PACS |  |  | 16 | Modality/Tech | Modality | PACS | DICOM CSTORE
RID45822 | TransportOrdered | Transportation ordered for a patient | ModalityTechnologist | Transmitted | TransportRequest | TransportSystem
RID45946 | TriageRpt | Report created by non-radiologist (e.g. emergency department physician) | temporaryReportingPhysician | Created | ImagingReport
RID45947 | VitalsMonitor | Patient vitals obtained (+/- monitor)
RID45948 | Apptconfirmation | Pt called 24hs in advance for appt confirmation and preimaging instructions (insulin, fasting, etc) | technologist/scheduling | Transmitted | ClinicalDocument
RID45949 | techdosedetails | tracer injection time, dose and site recorded on patient's medical record
RID45950 | Tracerinject | IV line placement and tracer injection
RID45951 | TracerOrder | Order/confirmation of tracer supply and dose (body weight related) 24hs prior to imaging
RID45952 | PatientSurvey | Patient survey information collection
| Contrast Complication | The patient experienced a reaction or other complication of contrast administration
| EarlyExamTermination | The examination was terminated early
WaitingForPhysician
WaitingForOtherPerson
Note that the workflow may include only a subset of this steps
The sequence may be different at some institutions, or for different modalities
Time of day or phsyician might also affect
Downtime workflow considerations
At what point can a radiologist 'take ownership' (promise to interpret) a case?
We do not include peer review in this, as institutions typically do not wantthat data included in the medical record
What about nuc med, mammo, IR, intra-op workflow?
What about grouped procedures?
Note on J1: Bradley J Erickson: * means can be ignored for STAT exams

## DelayCodes
PatientDidNotArrive | RID45954
ResourceNotAvailable | RID45955
WaitingForRadiologists | RID45956
WaitingforAnesthesiaCoverage | RID45957
PatientNotReady | RID45958
PrepWorkNotComplete | RID45959
WaitingForNurse | RID45960
WaitingForTech | RID45961
WaitingForRoom | RID45962
WaitingForModality | RID45963
SystemDown | RID45964
EquipmentFalureNOS | RID45965
NoChecklist | RID45966
WaitingForReferringService | RID45967
PatientNotScheduledorExpected | RID45968
PatientRequiresSedation | RID45969
WaitingForConsent | RID45970
PatientBumpedForCriticalPatient | RID45971
WaitingForTransport | RID45972
Artifact or ImproperPositioning | RID45973
PatientNeedsScreening | RID45974

## Indices
| IndexName | Formula (Radlex IDs)
RID45976 | ReportTurnAroundTime | RID45924 - RID45914
RID45977 | RoomUtilization | Sum(RID45936-RID45934)/Sum(RoomUnavailable-RID45935) | Sum all exams over given day/month/etc
RID45978 | ModalityUtilization | Sum(Complete-ProcedureStarted)/Sum(ModalityScheduledUnavailable-ModalityScheduledAvailable)
RID45979 | PatientWait | ProcedureStarted - Arrived
RID45980 | RoomDuration | PatientOut - PatientIn
RID45981 | AcquisitionDuration | Acquired - ProcedureStarted
RID45982 | TimeFromStatOrderToAcquistion
RID45983 | ModalityToPACSTransferTime | Prepared-Complete
RID45984 | JCCritnotification | Count & SUM(CritNotification-Alert)

## OtherTimeStamps
Resource TimeStamps
ModalityScheduledAvailable | RID45986
ModalityScheduledUnavailable | RID45987
RoomScheduledAvailable | RID45988
RoomScheduledUnavailable | RID45989
RoomOpened | RID45990
RoomClosed | RID45991
RISDown | RID45992
RISUp | RID45993
PACSDown | RID45994
PACSUp | RID45995
EMRDown | RID45996
EMRUp | RID45997
ModalityDown | RID45998
ModalityUp | RID45999